## Sheet1
Instructions
Pipe Cleaner - PM Section Toggle
Kirkland Lab Site
Component | Status | Additional Information
Request Type | ON | Commodity Type being Tested
Target Configuration | ON
Part Number | ON
Supplier | ON
Description | ON
Mixed Required | ON
Datasheet | ON
Toolkit | ON
Firmware | ON | Current Version
Firmware N-1 | ON | N-1 means previous version
Diagnostic Utility | ON
Firmware Update Utility | ON
Reference Specifications | ON
Reference Test Plans | ON
Reference Test Data | ON
Reference Configuration | ON
Known Issue | ON | Usually Empty
Server BIOS | ON
Server BMC | ON
Server CPLD | ON
Server OS | ON
Server Chipset Driver | ON
Server Partition Volume | ON
Server Boot Drive | ON
Server Motherboard PN | ON
Server Processors | ON
Server TPM | ON
FPGA Release Package | ON | If FPGA Release Package match both CRD and TRR, other FPGA/FTDI info don't show up
FPGA Board PN | ON
FPGA Active Image | ON
FPGA Inactive Images | ON
Hyperblaster DLL | ON
FPGA HIP Driver | ON
FPGA Filter Driver | ON
FTDI Port Driver | ON
FTDI Bus Driver | ON
Server NIC Firmware | ON | NIC info not available in Console Server yet
Server NIC PXE | ON
Server NIC Driver | ON
Server GPU Driver | ON | Shows up if in PM Section if 'GPU' is in Target Configruation and CRD
Server GPU VBIOS | ON | Shows up if in PM Section if 'GPU' is in Target Configruation and CRD
QCL NVME 1 | ON | Commodities quantity capped at 5 by default
QCL NVME 2 | ON
QCL NVME 3 | ON
QCL NVME 4 | ON
QCL NVME 5 | ON
QCL NVME 6 | ON
QCL NVME 7 | OFF
QCL NVME 8 | OFF
QCL NVME 9 | OFF
QCL NVME 10 | OFF
QCL SSD 1 | ON
QCL SSD 2 | ON
QCL SSD 3 | ON
QCL SSD 4 | ON
QCL SSD 5 | ON
QCL SSD 6 | ON
QCL SSD 7 | OFF
QCL SSD 8 | OFF
QCL SSD 9 | OFF
QCL SSD 10 | OFF
QCL HDD 1 | ON
QCL HDD 2 | ON
QCL HDD 3 | ON
QCL HDD 4 | ON
QCL HDD 5 | ON
QCL HDD 6 | ON
QCL HDD 7 | OFF
QCL HDD 8 | OFF
QCL HDD 9 | OFF
QCL HDD 10 | OFF
QCL DIMM 1 | ON
QCL DIMM 2 | ON
QCL DIMM 3 | ON
QCL DIMM 4 | ON
QCL DIMM 5 | ON
QCL DIMM 6 | ON
QCL DIMM 7 | OFF
QCL DIMM 8 | OFF
QCL DIMM 9 | OFF
QCL DIMM 10 | OFF
Sever PSU Firmware | ON
Sever PSU PN | ON
Rack Manager PN | ON
Rack Manager Firmware | ON | Show up either Chassis/ Rack Manager based on Generation in Target Configuration
Manager Switch Firmware | ON
PMDU | ON
Switch PN | ON
Chassis PSU Firmware | ON
Chassis PSU PN | ON
Chassis Manager Service | ON
Chassis Manager OS | ON
Chassis Manager BIOS | ON
Chassis Manager TPM | ON
Chassis Manager PN | ON
END | END | Script Ends Here

## Sheet2
Pipe Cleaner - Components
Kirkland Lab Site
System Integrators | Commodity Suppliers
DELL | AMD
Lenovo | Artesyn
Quarta | Flextronics
Wiwynn | HGST
ZT | Hynix
Intel
KioXia
Lite-On
Mellanox
Micron
Microsoft
NVIDIA
Samsung
Seagate
Toshiba
WD
END | END

## Sheet3
Pipe Cleaner - System Naming Convention
VSE Sites |  | Generation |  | Processor Vendor |  | Manufacturer |  | Serial
VSE0 | Kirkland | G5 | Gen 5 | D | Dell | BAL | Balanced/MBX (G5/6) | "-5xx" | Gen 5 Hint
VSE1 | Taiwan | G6 | Gen 6 | H | HP | CPT | Compute | "-6xx" | Gen 6 Hint
VSE2 | Europe | G7 | Gen 7 | I | Ingrasys | OPT | Optimized | "-7xx" | Gen 7 Hint
END | Script Ends Here | G8 | Gen 8 | L | Lenovo | BAM | Balanced/MBX (G7) | "-8xx" | Gen 8 Hint
|  |  |  | Q | Quanta | BAS | Balanced Search (G7) | "-9xx" | Gen 9 Hint
|  |  |  | W | Wiwynn | UTL | Utility
|  |  |  | Z | ZT Systems | WEB | Web Gen/Dir
[6 empty] | XIO | eXtreme IO
[6 empty] | XST | XStore
[6 empty] | XDR | XDirect
[6 empty] | VIZ | Remote-Viz / GPU-V
[6 empty] | EWA | EOP Web APP
[6 empty] | ESD | EOP Storage DB